Eclipsys Server Project Plan

Author: James M. Newton

Revised 8/24/2011

| Pri | Item Num | Resp | Item | Status | Due Date | Complete Date |
| --- | --- | --- | --- | --- | --- | --- |
| 0 | 0 | JMN | Prep as SFXXXXX |  | 12/6 |  |
| 10 | 1 | JMN | Install new RAID controller |  | 12/1 |  |
| 20 | 2 | JJH, JMN | Follow document from JJH on Rebuilding the Eclipsys Server. | AO11/29 Have document. | 12/3 |  |
| 30 | 3 | JMN | Setup Drives as follows: Drives 0 & 1 are (1) logical drive (C) containing OS with RAID 1 in a 4 Gig partition. Drives 2, 3 & 4 are (1) logical drive containing Applications / data using RAID 5 Drive 5 is (1) logical drive RAID 0 for backup. | Notes: CD ROM is to be drive D. Drives 0, 1, 2, 3, 4 & 5 installed Drives 0 & 1 are one logical drive (C:) and have one 4 gig partition at RAID 1. Drives 2, 3 & 4 are one logical drive with (E, F & G partitions at RAID 5. Drive 5 is one logical drive at RAID zero. NOTE Procedure for changing the RAID configuration: Installed Power Console Plus – GUI for RAID management. Failed drive 0 which had the OS at RAID 0 Shut down PC Used Ctrl-M utility upon reboot and created a New Configuration setting up all drives. DID NOT INITIALIZE DRIVES!!! Started standard install of the OS on the new RAID 1 logical drive 1 (C:). Configuration and all data was saved for the RAID 5 array which had already had all the Eclipsys directories set up on it. | 12/3 |  |
| 40 | 4 | JMN | Create 4 gig partitions for OS on disks 0 & 1 |  | 12/3 |  |
| 50 | 5 | JMN | Install NT4 with SP6 OS on C |  | 12/3 |  |
| 60 | 6 | JMN | Install drive from EP01 |  |  |  |
| 70 | 7 | JMN, JJH | Install Eclipsys (Caché database) Documentation by JJH – copy DB | AO 11/29 Have documents and Grouper Pricer software ready. | 11/29 | 11/29 |
| 99 | 8 | JMN | Install permanent IP address |  |  |  |
| 100 | 9 | JMN | Rename Server SFXXXXX |  |  |  |
| 200 | 10 | JMN | Install InoculateIT |  |  |  |
| 700 | 11 | JMN | Where will NAS be located? AIT? MPR office at CGH? Performance factors over net? And where do we want it. | AOXXXXX Server is back at CGH in place in the Computer Room and connected to a KVM and online. |  |  |
| 888 | 12 | JMN | Install tape drive in NAS |  |  |  |